{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["10千伏公用线路分布式电源可开放容量"],"not_rendered":{"defined_names":2},"read":"whole","date_system":"1900"}

{"sheet":"10千伏公用线路分布式电源可开放容量","index":0,"n_rows":161,"n_cols":11,"rows_kept":161,"merged":[[0,0,0,10],[1,0,1,10]]}
["2025年12月成武供电公司10千伏公用线路分布式电源可开放容量信息明细表"]
["单位：安培、千伏安"]
["序号","线路管理单位","变电变电站名称","变电变电站电压等级","开关编号","线路名称","额定电流值","最大电流值","最大反向负载率","分布式电源\n线路可开放容量","分布式电源接入电网\n承载力评估等级"]
[1,"孙寺供电所","成武县公司110kV成武变电站","110kV","0102","10kV0102孙寺线",552,{"v":-58.891454965358,"d":"-59"},{"v":0.106687418415504,"d":"10.67%"},0,"红色"]
[2,"天宫庙供电所","成武县公司110kV成武变电站","110kV","0103","10kV0103天宫线",465,{"v":84.2956120092379,"d":"84"},{"v":-0.181280886041372,"d":"-18.13%"},0,"红色"]
[3,"城区供电中心","成武县公司110kV成武变电站","110kV","0104","10kV0104工业线",465,{"v":61.7782909930716,"d":"62"},{"v":-0.132856539770046,"d":"-13.29%"},0,"红色"]
[4,"天宫庙供电所","成武县公司110kV成武变电站","110kV","0105","10kV0105郑河线",465,{"v":21.9399538106236,"d":"22"},{"v":-0.0471826963669324,"d":"-4.72%"},0,"红色"]
[5,"城区供电中心","成武县公司110kV成武变电站","110kV","0106","10kV0106定砀Ⅰ线",552,{"v":46.7667436489607,"d":"47"},{"v":-0.0847223616828999,"d":"-8.47%"},0,"红色"]
[6,"城区供电中心","成武县公司110kV成武变电站","110kV","0107","10kV0107定砀Ⅱ线",552,{"v":66.3972286374134,"d":"66"},{"v":-0.120284834488068,"d":"-12.03%"},0,"红色"]
[7,"工业园区供电所","成武县公司110kV成武变电站","110kV","0109","10kV0109伯乐线",465,{"v":37.5288683602771,"d":"38"},{"v":-0.0807072437855422,"d":"-8.07%"},0,"红色"]
[8,"城区供电中心","成武县公司110kV成武变电站","110kV","0110","10kV0110文亭线",465,{"v":45.0346420323326,"d":"45"},{"v":-0.0968486925426507,"d":"-9.68%"},0,"红色"]
[9,"城区供电中心","成武县公司110kV成武变电站","110kV","0111","10kV0111城内线",465,{"v":58.3140877598152,"d":"58"},{"v":-0.125406640343689,"d":"-12.54%"},0,"红色"]
[10,"工业园区供电所","成武县公司110kV成武变电站","110kV","0112","10kV0112吕台西线",465,{"v":-203.233256351039,"d":"-203"},{"v":0.437060766346321,"d":"43.71%"},0,"红色"]
[11,"工业园区供电所","成武县公司110kV成武变电站","110kV","0113","10kV0113富达线",465,{"v":3.46420323325635,"d":"3"},{"v":-0.00744989942635774,"d":"-0.74%"},0,"红色"]
[12,"孙寺供电所","成武县公司110kV成武变电站","110kV","0114","10kV0114吕台东线",465,{"v":23.094688221709,"d":"23"},{"v":-0.0496659961757183,"d":"-4.97%"},0,"红色"]
[13,"孙寺供电所","成武县公司110kV成武变电站","110kV","0115","10kV0115盛材线",465,{"v":-53.1177829099307,"d":"-53"},{"v":0.114231791204152,"d":"11.42%"},0,"红色"]
[14,"苟村集供电所","成武县公司110kV东城变电站","110kV","004","10kV004刘海线",553,{"v":-18.4757505773672,"d":"-18"},{"v":0.0334100372104289,"d":"3.34%"},0,"红色"]
[15,"苟村集供电所","成武县公司110kV东城变电站","110kV","005","10kV005苟村集线",300,{"v":-13.8568129330254,"d":"-14"},{"v":0.046189376443418,"d":"4.62%"},0,"红色"]
[16,"苟村集供电所","成武县公司110kV东城变电站","110kV","006","10kV006苟村工业线",300,{"v":-189.953810623557,"d":"-190"},{"v":0.633179368745189,"d":"63.32%"},0,"红色"]
[17,"苟村集供电所","成武县公司110kV东城变电站","110kV","009","10kV009王庄线",300,{"v":-3.46420323325635,"d":"-3"},{"v":0.0115473441108545,"d":"1.15%"},0,"红色"]
[18,"苟村集供电所","成武县公司110kV东城变电站","110kV","010","10kV010盛大寨线",300,{"v":-9.2378752886836,"d":"-9"},{"v":0.0307929176289453,"d":"3.08%"},0,"红色"]
[19,"苟村集供电所","成武县公司110kV东城变电站","110kV","011","10kV011孔楼线",553,{"v":-71.5935334872979,"d":"-72"},{"v":0.129463894190412,"d":"12.95%"},0,"红色"]
[20,"苟村集供电所","成武县公司110kV东城变电站","110kV","012","10kV012郭桥线",300,{"v":-48.4988452655889,"d":"-48"},{"v":0.161662817551963,"d":"16.17%"},0,"红色"]
[21,"苟村集供电所","成武县公司110kV东城变电站","110kV","015","10kV015吕庄线",300,{"v":-7.50577367205543,"d":"-8"},{"v":0.0250192455735181,"d":"2.50%"},0,"红色"]
[22,"孙寺供电所","成武县公司110kV郜鼎变电站","110kV","0109","10kV0109高庄线",553,0,{"v":0,"d":"0.00%"},0,"红色"]
[23,"孙寺供电所","成武县公司110kV郜鼎变电站","110kV","0110","10kV0110西张庄线",553,0,{"v":0,"d":"0.00%"},0,"红色"]
[24,"孙寺供电所","成武县公司110kV郜鼎变电站","110kV","0111","10kV0111杨楼线",553,{"v":64.6651270207852,"d":"65"},{"v":-0.116935130236501,"d":"-11.69%"},0,"红色"]
[25,"工业园区供电所","成武县公司110kV郜鼎变电站","110kV","0108","10kV0108古井Ⅱ线",553,{"v":-84.2956120092379,"d":"-84"},{"v":0.152433294772582,"d":"15.24%"},0,"红色"]
[26,"工业园区供电所","成武县公司110kV郜鼎变电站","110kV","0107","10kV0107古井Ⅰ线",553,{"v":5.77367205542725,"d":"6"},{"v":-0.010440636628259,"d":"-1.04%"},0,"红色"]
[27,"工业园区供电所","成武县公司110kV郜鼎变电站","110kV","0106","10kV0106玖德Ⅱ线",553,{"v":-94.6882217090069,"d":"-95"},{"v":0.171226440703448,"d":"17.12%"},0,"红色"]
[28,"工业园区供电所","成武县公司110kV郜鼎变电站","110kV","0105","10kV0105玖德Ⅰ线",553,{"v":-127.598152424942,"d":"-128"},{"v":0.230738069484525,"d":"23.07%"},0,"红色"]
[29,"苟村集供电所","成武县公司110kV郜鼎变电站","110kV","0112","10kV0112后湾线",553,0,{"v":0,"d":"0.00%"},0,"红色"]
[30,"苟村集供电所","成武县公司110kV郜鼎变电站","110kV","0113","10kV0113苏菜园线",553,0,{"v":0,"d":"0.00%"},0,"红色"]
[31,"苟村集供电所","成武县公司110kV郜鼎变电站","110kV","0114","10kV0114赵庄线",553,0,{"v":0,"d":"0.00%"},0,"红色"]
[32,"苟村集供电所","成武县公司110kV郜鼎变电站","110kV","0115","10kV0115宋洼线",553,0,{"v":0,"d":"0.00%"},0,"红色"]
[33,"城区供电中心","成武县公司110kV汉堤变电站","110kV","0101","10kV0101城东Ⅰ线",352,{"v":62.933025404157,"d":"63"},{"v":-0.178787003989083,"d":"-17.88%"},0,"红色"]
[34,"城区供电中心","成武县公司110kV汉堤变电站","110kV","0102","10kV0102城东Ⅱ线",352,{"v":31.7551963048499,"d":"32"},{"v":-0.0902136258660508,"d":"-9.02%"},0,"红色"]
[35,"工业园区供电所","成武县公司110kV汉堤变电站","110kV","0109","10kV0109园区Ⅰ线",553,{"v":-53.6951501154734,"d":"-54"},{"v":0.0970979206428091,"d":"9.71%"},0,"红色"]
[36,"苟村集供电所","成武县公司110kV汉堤变电站","110kV","0110","10kV0110园区Ⅲ线",553,{"v":25.4041570438799,"d":"25"},{"v":-0.0459388011643398,"d":"-4.59%"},0,"红色"]
[37,"工业园区供电所","成武县公司110kV汉堤变电站","110kV","0115","10kV0115城东Ⅲ线",352,{"v":88.9145496535797,"d":"89"},{"v":-0.252598152424942,"d":"-25.26%"},0,"红色"]
[38,"工业园区供电所","成武县公司110kV汉堤变电站","110kV","0116","10kV0116城东Ⅳ线",352,{"v":32.9099307159353,"d":"33"},{"v":-0.093494121352089,"d":"-9.35%"},0,"红色"]
[39,"工业园区供电所","成武县公司110kV汉堤变电站","110kV","0121","10kV0121园区Ⅱ线",553,{"v":-203.233256351039,"d":"-203"},{"v":0.367510409314718,"d":"36.75%"},0,"红色"]
[40,"苟村集供电所","成武县公司110kV汉堤变电站","110kV","0122","10kV0122园区Ⅳ线",553,{"v":59.4688221709007,"d":"59"},{"v":-0.107538557271068,"d":"-10.75%"},0,"红色"]
[41,"大田集供电所","成武县公司110kV孟楼变电站","110kV","0103","10kV0103产业园Ⅲ线",553,{"v":14.4341801385681,"d":"14"},{"v":-0.0261015915706476,"d":"-2.61%"},0,"红色"]
[42,"南鲁集供电所","成武县公司110kV孟楼变电站","110kV","0104","10kV0104范张庄Ⅱ线",553,0,{"v":0,"d":"0.00%"},0,"红色"]
[43,"南鲁集供电所","成武县公司110kV孟楼变电站","110kV","0105","10kV0105产业园Ⅰ线",553,{"v":5.77367205542725,"d":"6"},{"v":-0.010440636628259,"d":"-1.04%"},0,"红色"]
[44,"南鲁集供电所","成武县公司110kV孟楼变电站","110kV","0106","10kV0106鲍楼Ⅰ线",553,{"v":17.8983833718245,"d":"18"},{"v":-0.032365973547603,"d":"-3.24%"},0,"红色"]
[45,"南鲁集供电所","成武县公司110kV孟楼变电站","110kV","0116","10kV0116鲍楼Ⅱ线",553,{"v":-17.3210161662818,"d":"-17"},{"v":0.0313219098847771,"d":"3.13%"},0,"红色"]
[46,"南鲁集供电所","成武县公司110kV孟楼变电站","110kV","0125","10kV0125范张庄Ⅰ线",553,{"v":2.88683602771363,"d":"3"},{"v":-0.00522031831412952,"d":"-0.52%"},0,"红色"]
[47,"大田集供电所","成武县公司110kV孟楼变电站","110kV","0126","10kV0126产业园Ⅱ线",553,0,{"v":0,"d":"0.00%"},0,"红色"]
[48,"党集供电所","成武县公司110kV南鲁变电站","110kV","0101","10kV0107张阁线",403,{"v":16.1662817551963,"d":"16"},{"v":-0.0401148430650032,"d":"-4.01%"},0,"红色"]
[49,"党集供电所","成武县公司110kV南鲁变电站","110kV","0105","10kV0105李村线",553,{"v":-1.15473441108545,"d":"-1"},{"v":0.00208812732565181,"d":"0.21%"},0,"红色"]
[50,"党集供电所","成武县公司110kV南鲁变电站","110kV","0106","10kV0101毕石门线",553,{"v":-49.0762124711316,"d":"-49"},{"v":0.0887454113402019,"d":"8.87%"},0,"红色"]
[51,"南鲁集供电所","成武县公司110kV南鲁变电站","110kV","0107","10kV0115苗岗线",553,{"v":-40.4157043879908,"d":"-40"},{"v":0.0730844563978133,"d":"7.31%"},0,"红色"]
[52,"党集供电所","成武县公司110kV南鲁变电站","110kV","0110","10kV0111苗楼线",553,0,{"v":0,"d":"0.00%"},0,"红色"]
[53,"党集供电所","成武县公司110kV南鲁变电站","110kV","0111","10kV0113化工线",553,{"v":211.316397228637,"d":"211"},{"v":-0.382127300594281,"d":"-38.21%"},0,"红色"]
[54,"党集供电所","成武县公司110kV南鲁变电站","110kV","0113","10kV0114胡堂线",553,{"v":-10.3926096997691,"d":"-10"},{"v":0.0187931459308663,"d":"1.88%"},0,"红色"]
[55,"党集供电所","成武县公司110kV南鲁变电站","110kV","0114","10kV0110胡楼线",553,{"v":-130.484988452656,"d":"-130"},{"v":0.235958387798654,"d":"23.60%"},0,"红色"]
[56,"党集供电所","成武县公司110kV南鲁变电站","110kV","0115","10kV0106郭楼线",553,{"v":65.8198614318707,"d":"66"},{"v":-0.119023257562153,"d":"-11.90%"},0,"红色"]
[57,"城区供电中心","成武县公司110kV秋月变电站","110kV","0107","10kV0107黄楼Ⅰ线",465,{"v":36.9515011547344,"d":"37"},{"v":-0.0794655938811493,"d":"-7.95%"},0,"红色"]
[58,"城区供电中心","成武县公司110kV秋月变电站","110kV","0108","10kV0108南环Ⅰ线",552,{"v":36.9515011547344,"d":"37"},{"v":-0.066941125280316,"d":"-6.69%"},0,"红色"]
[59,"工业园区供电所","成武县公司110kV秋月变电站","110kV","0109","10kV0109新大街Ⅰ线",552,{"v":93.5334872979215,"d":"94"},{"v":-0.1694447233658,"d":"-16.94%"},0,"红色"]
[60,"城区供电中心","成武县公司110kV秋月变电站","110kV","0110","10kV0110县委街线",552,{"v":80.8314087759815,"d":"81"},{"v":-0.146433711550691,"d":"-14.64%"},0,"红色"]
[61,"城区供电中心","成武县公司110kV秋月变电站","110kV","0119","10kV0119黄楼Ⅱ线",465,{"v":10.3926096997691,"d":"10"},{"v":-0.0223496982790732,"d":"-2.23%"},0,"红色"]
[62,"城区供电中心","成武县公司110kV秋月变电站","110kV","0120","10kV0120南环Ⅱ线",552,{"v":47.3441108545035,"d":"47"},{"v":-0.0857683167654048,"d":"-8.58%"},0,"红色"]
[63,"工业园区供电所","成武县公司110kV秋月变电站","110kV","0121","10kV0121新大街Ⅱ线",552,{"v":30.0230946882217,"d":"30"},{"v":-0.0543896642902567,"d":"-5.44%"},0,"红色"]
[64,"工业园区供电所","成武县公司110kV秋月变电站","110kV","0122","10kV0122老城街线",552,{"v":61.7782909930716,"d":"62"},{"v":-0.111917193828028,"d":"-11.19%"},0,"红色"]
[65,"城农供电所","成武县公司110kV西洼变电站","110kV","0103","10kV0103新城Ⅱ线",553,{"v":115.473441108545,"d":"115"},{"v":-0.208812732565181,"d":"-20.88%"},0,"红色"]
[66,"城农供电所","成武县公司110kV西洼变电站","110kV","0104","10kV0104仪凤Ⅰ线",553,{"v":7.50577367205543,"d":"8"},{"v":-0.0135728276167368,"d":"-1.36%"},0,"红色"]
[67,"城农供电所","成武县公司110kV西洼变电站","110kV","0105","10kV0105仪凤Ⅱ线",553,{"v":44.4572748267898,"d":"44"},{"v":-0.0803929020375947,"d":"-8.04%"},0,"红色"]
[68,"工业园区供电所","成武县公司110kV西洼变电站","110kV","0106","10kV0106城北Ⅰ线",646,{"v":136.258660508083,"d":"136"},{"v":-0.21092671905276,"d":"-21.09%"},0,"红色"]
[69,"城农供电所","成武县公司110kV西洼变电站","110kV","0116","10kV0116姚堂线",553,{"v":2.3094688221709,"d":"2"},{"v":-0.00417625465130362,"d":"-0.42%"},0,"红色"]
[70,"城农供电所","成武县公司110kV西洼变电站","110kV","0120","10kV0120金庄线",553,{"v":15.0115473441109,"d":"15"},{"v":-0.0271456552334735,"d":"-2.71%"},0,"红色"]
[71,"城农供电所","成武县公司110kV西洼变电站","110kV","0122","10kV0122史庄线",553,{"v":7.50577367205543,"d":"8"},{"v":-0.0135728276167368,"d":"-1.36%"},0,"红色"]
[72,"工业园区供电所","成武县公司110kV西洼变电站","110kV","0126","10kV0126城北Ⅱ线",646,{"v":62.933025404157,"d":"63"},{"v":-0.0974195439692834,"d":"-9.74%"},0,"红色"]
[73,"白浮图供电所","成武县公司35kV白浮变电站","35kV","0104","10kV0104刘堂线",300,{"v":-118.360277136259,"d":"-118"},{"v":0.394534257120862,"d":"39.45%"},0,"红色"]
[74,"白浮图供电所","成武县公司35kV白浮变电站","35kV","0105","10kV0105崔庄线",300,{"v":-94.1108545034642,"d":"-94"},{"v":0.313702848344881,"d":"31.37%"},0,"红色"]
[75,"白浮图供电所","成武县公司35kV白浮变电站","35kV","0106","10kV0106孙庙线",553,{"v":-204.965357967667,"d":"-205"},{"v":0.370642600303196,"d":"37.06%"},0,"红色"]
[76,"白浮图供电所","成武县公司35kV白浮变电站","35kV","0108","10kV0108李双楼",553,{"v":-80.2540415704388,"d":"-80"},{"v":0.145124849132801,"d":"14.51%"},0,"红色"]
[77,"白浮图供电所","成武县公司35kV白浮变电站","35kV","0110","10kV0110吕洼线",553,{"v":-144.919168591224,"d":"-145"},{"v":0.262059979369302,"d":"26.21%"},0,"红色"]
[78,"伯乐集供电所","成武县公司35kV宝峰变电站","35kV","006","10kV006祝庄线",300,{"v":-146.651270207852,"d":"-147"},{"v":0.488837567359507,"d":"48.88%"},0,"红色"]
[79,"伯乐集供电所","成武县公司35kV宝峰变电站","35kV","009","10kV009徐海线",553,{"v":-93.5334872979215,"d":"-94"},{"v":0.169138313377797,"d":"16.91%"},0,"红色"]
[80,"伯乐集供电所","成武县公司35kV宝峰变电站","35kV","008","10kV008巩庄线",300,{"v":-3.46420323325635,"d":"-3"},{"v":0.0115473441108545,"d":"1.15%"},0,"红色"]
[81,"南鲁集供电所","成武县公司35kV宝峰变电站","35kV","005","10kV005李楼线",300,{"v":-17.8983833718245,"d":"-18"},{"v":0.0596612779060816,"d":"5.97%"},0,"红色"]
[82,"南鲁集供电所","成武县公司35kV宝峰变电站","35kV","003","10kV003南鲁线",553,{"v":-57.7367205542725,"d":"-58"},{"v":0.10440636628259,"d":"10.44%"},0,"红色"]
[83,"伯乐集供电所","成武县公司35kV伯乐变电站","35kV","0105","10kV0105姜庄线",553,{"v":163.972286374134,"d":"164"},{"v":-0.296514080242557,"d":"-29.65%"},0,"红色"]
[84,"伯乐集供电所","成武县公司35kV伯乐变电站","35kV","0106","10kV0106许楼线",553,{"v":115.473441108545,"d":"115"},{"v":-0.208812732565181,"d":"-20.88%"},0,"红色"]
[85,"伯乐集供电所","成武县公司35kV伯乐变电站","35kV","0107","10kV0107肖楼线",553,0,{"v":0,"d":"0.00%"},0,"红色"]
[86,"伯乐集供电所","成武县公司35kV伯乐变电站","35kV","0108","10kV0108林庄线",553,0,{"v":0,"d":"0.00%"},0,"红色"]
[87,"伯乐集供电所","成武县公司35kV伯乐变电站","35kV","0109","10kV0109秦铺线",553,{"v":-43.8799076212471,"d":"-44"},{"v":0.0793488383747687,"d":"7.93%"},0,"红色"]
[88,"伯乐集供电所","成武县公司35kV伯乐变电站","35kV","0111","10kV0111西袁庄线",553,{"v":-81.986143187067,"d":"-82"},{"v":0.148257040121278,"d":"14.83%"},0,"红色"]
[89,"党集供电所","成武县公司35kV伯乐变电站","35kV","0112","10kV0112王楼线",553,{"v":4.6189376443418,"d":"5"},{"v":-0.00835250930260724,"d":"-0.84%"},0,"红色"]
[90,"九女集供电所","成武县公司35kV韩堂变电站","35kV","003","10kV003李胡同线",553,{"v":-50.2309468822171,"d":"-50"},{"v":0.0908335386658537,"d":"9.08%"},0,"红色"]
[91,"九女集供电所","成武县公司35kV韩堂变电站","35kV","005","10kV005河里王线",553,{"v":-95.8429561200924,"d":"-96"},{"v":0.1733145680291,"d":"17.33%"},0,"红色"]
[92,"天宫庙供电所","成武县公司35kV韩堂变电站","35kV","009","10kV009王饭铺线",553,{"v":-73.9030023094688,"d":"-74"},{"v":0.133640148841716,"d":"13.36%"},0,"红色"]
[93,"九女集供电所","成武县公司35kV韩堂变电站","35kV","008","10kV008冉庄线",553,{"v":-32.9099307159353,"d":"-33"},{"v":0.0595116287810766,"d":"5.95%"},0,"红色"]
[94,"天宫庙供电所","成武县公司35kV韩堂变电站","35kV","011","10kV011邵楼线",553,{"v":-83.7182448036951,"d":"-84"},{"v":0.151389231109756,"d":"15.14%"},0,"红色"]
[95,"九女集供电所","成武县公司35kV韩堂变电站","35kV","012","10kV012宗集线",553,{"v":-17.3210161662818,"d":"-17"},{"v":0.0313219098847771,"d":"3.13%"},0,"红色"]
[96,"九女集供电所","成武县公司35kV韩堂变电站","35kV","007","10kV007智楼线",553,{"v":-164.549653579677,"d":"-165"},{"v":0.297558143905383,"d":"29.76%"},0,"红色"]
[97,"九女集供电所","成武县公司35kV韩堂变电站","35kV","006","10kV006南张楼线",553,{"v":-51.9630484988453,"d":"-52"},{"v":0.0939657296543314,"d":"9.40%"},0,"红色"]
[98,"九女集供电所","成武县公司35kV韩堂变电站","35kV","014","10kV014步楼线",553,{"v":-73.9030023094688,"d":"-74"},{"v":0.133640148841716,"d":"13.36%"},0,"红色"]
[99,"城农供电所","成武县公司35kV九女变电站","35kV","009","10kV009九白线",403,{"v":9.81524249422633,"d":"10"},{"v":-0.0243554404323234,"d":"-2.44%"},0,"红色"]
[100,"九女集供电所","成武县公司35kV九女变电站","35kV","007","10kV007青固集线",553,{"v":19.0531177829099,"d":"19"},{"v":-0.0344541008732549,"d":"-3.45%"},0,"红色"]
[101,"九女集供电所","成武县公司35kV九女变电站","35kV","006","10kV006伊岗线",317,0,{"v":0,"d":"0.00%"},0,"红色"]
[102,"九女集供电所","成武县公司35kV九女变电站","35kV","013","10kV013贾楼线",553,{"v":-31.7551963048499,"d":"-32"},{"v":0.0574235014554248,"d":"5.74%"},0,"红色"]
[103,"九女集供电所","成武县公司35kV九女变电站","35kV","005","10kV005政府线",317,0,{"v":0,"d":"0.00%"},0,"红色"]
[104,"九女集供电所","成武县公司35kV九女变电站","35kV","004","10kV004谷庄线",317,{"v":-81.986143187067,"d":"-82"},{"v":0.258631366520716,"d":"25.86%"},0,"红色"]
[105,"党集供电所","成武县公司35kV卢庄变电站","35kV","016","10kV016段庄线",403,{"v":-13.2794457274827,"d":"-13"},{"v":0.0329514782319669,"d":"3.30%"},0,"红色"]
[106,"党集供电所","成武县公司35kV卢庄变电站","35kV","011","10kV011化工园区Ⅲ线",553,0,{"v":0,"d":"0.00%"},0,"红色"]
[107,"党集供电所","成武县公司35kV卢庄变电站","35kV","004","10kV004化工园区Ⅰ线",400,{"v":89.4919168591224,"d":"89"},{"v":-0.223729792147806,"d":"-22.37%"},0,"红色"]
[108,"党集供电所","成武县公司35kV卢庄变电站","35kV","010","10kV010李庙线",200,{"v":-11.5473441108545,"d":"-12"},{"v":0.0577367205542725,"d":"5.77%"},0,"红色"]
[109,"大田集供电所","成武县公司35kV卢庄变电站","35kV","009","10kV009刘小楼线",400,{"v":-13.2794457274827,"d":"-13"},{"v":0.0331986143187067,"d":"3.32%"},0,"红色"]
[110,"党集供电所","成武县公司35kV卢庄变电站","35kV","008","10kV008宋庄线",200,{"v":6.9284064665127,"d":"7"},{"v":-0.0346420323325635,"d":"-3.46%"},0,"红色"]
[111,"党集供电所","成武县公司35kV卢庄变电站","35kV","006","10kV006化工园区Ⅱ线",400,{"v":109.699769053118,"d":"110"},{"v":-0.274249422632794,"d":"-27.42%"},0,"红色"]
[112,"大田集供电所","成武县公司35kV泉塔变电站","35kV","0101","10kV0101临港Ⅰ线",553,{"v":-101.61662817552,"d":"-102"},{"v":0.183755204657359,"d":"18.38%"},0,"红色"]
[113,"大田集供电所","成武县公司35kV泉塔变电站","35kV","0102","10kV0102临港Ⅱ线",553,0,{"v":0,"d":"0.00%"},0,"红色"]
[114,"大田集供电所","成武县公司35kV泉塔变电站","35kV","0103","10kV0103临港Ⅲ线",553,{"v":33.4872979214781,"d":"33"},{"v":-0.0605556924439025,"d":"-6.06%"},0,"红色"]
[115,"大田集供电所","成武县公司35kV泉塔变电站","35kV","0104","10kV0104固王线",553,{"v":-31.7551963048499,"d":"-32"},{"v":0.0574235014554248,"d":"5.74%"},0,"红色"]
[116,"大田集供电所","成武县公司35kV泉塔变电站","35kV","0112","10kV0112程楼线",553,0,{"v":0,"d":"0.00%"},0,"红色"]
[117,"大田集供电所","成武县公司35kV泉塔变电站","35kV","0113","10kV0113邓庄线",553,{"v":47.9214780600462,"d":"48"},{"v":-0.0866572840145501,"d":"-8.67%"},0,"红色"]
[118,"大田集供电所","成武县公司35kV泉塔变电站","35kV","0114","10kV0114东许线",553,{"v":-41.5704387990762,"d":"-42"},{"v":0.0751725837234651,"d":"7.52%"},0,"红色"]
[119,"大田集供电所","成武县公司35kV泉塔变电站","35kV","0115","10kV0115丙公庙线",553,{"v":-10.9699769053118,"d":"-11"},{"v":0.0198372095936922,"d":"1.98%"},0,"红色"]
[120,"孙寺供电所","成武县公司35kV双楼变电站","35kV","010","10kV010宋小楼线",553,{"v":66.9745958429561,"d":"67"},{"v":-0.121111384887805,"d":"-12.11%"},0,"红色"]
[121,"孙寺供电所","成武县公司35kV双楼变电站","35kV","007","10kV007郜鼎线",553,{"v":-11.5473441108545,"d":"-12"},{"v":0.0208812732565181,"d":"2.09%"},0,"红色"]
[122,"孙寺供电所","成武县公司35kV双楼变电站","35kV","006","10kV006胡庄线",553,0,{"v":0,"d":"0.00%"},0,"红色"]
[123,"孙寺供电所","成武县公司35kV双楼变电站","35kV","015","10kV015李化寨线",553,{"v":-27.1362586605081,"d":"-27"},{"v":0.0490709921528175,"d":"4.91%"},0,"红色"]
[124,"孙寺供电所","成武县公司35kV双楼变电站","35kV","014","10kV014宋方楼线",553,{"v":-19.6304849884527,"d":"-20"},{"v":0.0354981645360808,"d":"3.55%"},0,"红色"]
[125,"孙寺供电所","成武县公司35kV双楼变电站","35kV","013","10kV013平楼线",553,{"v":-70.4387990762125,"d":"-70"},{"v":0.12737576686476,"d":"12.74%"},0,"红色"]
[126,"孙寺供电所","成武县公司35kV双楼变电站","35kV","011","10kV011马阁线",553,{"v":-19.6304849884527,"d":"-20"},{"v":0.0354981645360808,"d":"3.55%"},0,"红色"]
[127,"孙寺供电所","成武县公司35kV双楼变电站","35kV","009","10kV009仁集线",304,0,{"v":0,"d":"0.00%"},0,"红色"]
[128,"孙寺供电所","成武县公司35kV双楼变电站","35kV","008","10kV008草里王线",553,{"v":-22.5173210161663,"d":"-23"},{"v":0.0407184828502103,"d":"4.07%"},0,"红色"]
[129,"孙寺供电所","成武县公司35kV双楼变电站","35kV","004","10kV004郭集线",553,{"v":-130.484988452656,"d":"-130"},{"v":0.235958387798654,"d":"23.60%"},0,"红色"]
[130,"天宫庙供电所","成武县公司35kV苏庄变电站","35kV","004","10kV004天西线",553,{"v":-131.062355658199,"d":"-131"},{"v":0.23700245146148,"d":"23.70%"},0,"红色"]
[131,"天宫庙供电所","成武县公司35kV苏庄变电站","35kV","005","10kV005三堂线",553,{"v":-215.357967667436,"d":"-215"},{"v":0.389435746234062,"d":"38.94%"},0,"红色"]
[132,"天宫庙供电所","成武县公司35kV苏庄变电站","35kV","006","10kV006天东线",553,{"v":-285.796766743649,"d":"-286"},{"v":0.516811513098823,"d":"51.68%"},0,"红色"]
[133,"天宫庙供电所","成武县公司35kV苏庄变电站","35kV","007","10kV007康集线",553,{"v":-186.4896073903,"d":"-186"},{"v":0.337232563092767,"d":"33.72%"},0,"红色"]
[134,"大田集供电所","成武县公司35kV田集变电站","35kV","0102","10kV0102四刘庄线",553,{"v":-13.8568129330254,"d":"-14"},{"v":0.0250575279078217,"d":"2.51%"},0,"红色"]
[135,"大田集供电所","成武县公司35kV田集变电站","35kV","0103","10kV0103魏庄线",553,{"v":-2.88683602771363,"d":"-3"},{"v":0.00522031831412952,"d":"0.52%"},0,"红色"]
[136,"大田集供电所","成武县公司35kV田集变电站","35kV","0104","10kV0104陈庄线",553,{"v":13.2794457274827,"d":"13"},{"v":-0.0240134642449958,"d":"-2.40%"},0,"红色"]
[137,"大田集供电所","成武县公司35kV田集变电站","35kV","0105","10kV0105河南王线",553,{"v":109.122401847575,"d":"109"},{"v":-0.197328032274096,"d":"-19.73%"},0,"红色"]
[138,"大田集供电所","成武县公司35kV田集变电站","35kV","0106","10kV0106冯楼线",403,{"v":11.5473441108545,"d":"12"},{"v":-0.0286534593321452,"d":"-2.87%"},0,"红色"]
[139,"大田集供电所","成武县公司35kV田集变电站","35kV","0114","10kV0114盛海Ⅱ线",553,0,{"v":0,"d":"0.00%"},0,"红色"]
[140,"大田集供电所","成武县公司35kV田集变电站","35kV","0115","10kV0115谢楼线",553,{"v":59.4688221709007,"d":"59"},{"v":-0.107538557271068,"d":"-10.75%"},0,"红色"]
[141,"大田集供电所","成武县公司35kV田集变电站","35kV","0116","10kV0116袁海线",553,{"v":40.4157043879908,"d":"40"},{"v":-0.0730844563978133,"d":"-7.31%"},0,"红色"]
[142,"大田集供电所","成武县公司35kV田集变电站","35kV","0118","10kV0118党庄线",553,{"v":16.743648960739,"d":"17"},{"v":-0.0302778462219512,"d":"-3.03%"},0,"红色"]
[143,"汶上集供电所","成武县公司35kV汶上变电站","35kV","0101","10kV0101常路口线",553,{"v":27.1362586605081,"d":"27"},{"v":-0.0490709921528175,"d":"-4.91%"},0,"红色"]
[144,"汶上集供电所","成武县公司35kV汶上变电站","35kV","0102","10kV0102徐庄线",553,{"v":-69.284064665127,"d":"-69"},{"v":0.125287639539109,"d":"12.53%"},0,"红色"]
[145,"汶上集供电所","成武县公司35kV汶上变电站","35kV","0103","10kV0103刘楼线",553,{"v":-15.0115473441109,"d":"-15"},{"v":0.0271456552334735,"d":"2.71%"},0,"红色"]
[146,"汶上集供电所","成武县公司35kV汶上变电站","35kV","0108","10kV0108付谭线",553,{"v":-11.5473441108545,"d":"-12"},{"v":0.0208812732565181,"d":"2.09%"},0,"红色"]
[147,"汶上集供电所","成武县公司35kV汶上变电站","35kV","0109","10kV0109袁堂线",553,{"v":-25.9815242494226,"d":"-26"},{"v":0.0469828648271657,"d":"4.70%"},0,"红色"]
[148,"汶上集供电所","成武县公司35kV汶上变电站","35kV","0111","10kV0111汶东线",553,{"v":-14.4341801385681,"d":"-14"},{"v":0.0261015915706476,"d":"2.61%"},0,"红色"]
[149,"张楼供电所","成武县公司35kV张楼变电站","35kV","0108","10kV0108大李楼线",300,{"v":-28.8683602771363,"d":"-29"},{"v":0.0962278675904542,"d":"9.62%"},0,"红色"]
[150,"张楼供电所","成武县公司35kV张楼变电站","35kV","0110","10kV0110赵小庙线",300,{"v":-23.094688221709,"d":"-23"},{"v":0.0769822940723634,"d":"7.70%"},0,"红色"]
[151,"张楼供电所","成武县公司35kV张楼变电站","35kV","0111","10kV0111桃花线",300,{"v":-42.1478060046189,"d":"-42"},{"v":0.140492686682063,"d":"14.05%"},0,"红色"]
[152,"张楼供电所","成武县公司35kV张楼变电站","35kV",113,"10kV113张海线",553,{"v":-11.5473441108545,"d":"-12"},{"v":0.0208812732565181,"d":"2.09%"},0,"红色"]
[153,"张楼供电所","成武县公司35kV张楼变电站","35kV","0118","10kV0118康董庄线",300,{"v":-79.6766743648961,"d":"-80"},{"v":0.265588914549654,"d":"26.56%"},0,"红色"]
[154,"张楼供电所","成武县公司35kV张楼变电站","35kV","0119","10kV0119张乔线",300,{"v":-0.577367205542725,"d":"-1"},{"v":0.00192455735180908,"d":"0.19%"},0,"红色"]
[155,"党集供电所","成武县公司35kV周店变电站","35kV","0105","10kV0105党集线",553,{"v":-9.2378752886836,"d":"-9"},{"v":0.0167050186052145,"d":"1.67%"},0,"红色"]
[156,"党集供电所","成武县公司35kV周店变电站","35kV","0109","10kV0109党化Ⅰ线",553,0,{"v":0,"d":"0.00%"},0,"红色"]
[157,"党集供电所","成武县公司35kV周店变电站","35kV","0114","10kV0114党化Ⅱ线",553,0,{"v":0,"d":"0.00%"},0,"红色"]
[158,"城农供电所","成武县公司35kV周店变电站","35kV","0117","10kV0117小工业线",465,{"v":33.4872979214781,"d":"33"},{"v":-0.0720156944547915,"d":"-7.20%"},0,"红色"]